## water
Judetul MURES
Anexa 8.1 – Alimentare cu apa. Lista de investitii prioritare propuse pentru fondurile de coeziune
Nr. crt. | Aglomerarea (aglomerarea si cod cluster) | Localitati componente | Populatia 2007 | An implementare | Rata de conectare(%) |  | Masura | Descriere | Cost (Euro)
[5 empty] | inainte | Dupa |  |  | Net | Total | Total/persoana
1 | Targu Mures | Targu Mures | 125099 | 2015 | 92 | 98 | Rehabilitation main trunk (46500 m) | Completion of thise measures already defined within the Master Plan for Mures County | 5245200 | 6399144 | 127.7774
[7 empty] | Rehabilitation of PS's main trunck (3 items) |  | 100000 | 122000
[7 empty] | Rehabilitation reservoir's main trunk |  | 296400 | 361608
[7 empty] | New distribution (11000 m) | Extension on new urban area | 689700 | 841434
[7 empty] | Rehabilitation distribution (32909 m) | Rehabilitation and upgrating of network parameters | 2541562 | 3100705.64
[7 empty] | New clorinator & SCADA network |  | 432600 | 527772
[7 empty] | Rehabilitation of PS's (3 items) |  | 725000 | 884500
|  | Cristesti | 4759 | 2015 |  |  | New distribution (10000 m) | Extension on new urban area | 1818000 | 2217960
|  | Livezeni | 730 | 2015 |  |  | New distribution (7300 m) |  | 546412 | 666622.64
|  | Ernei | 2074 | 2015 |  |  | New PS (1 item) |  | 32200 | 39284
[7 empty] | New reservoir |  | 126360 | 154159.2
[7 empty] | New distribution (12000 m) |  | 1341000 | 1636020
2 | Reghin | Reghin | 36741 | 2015 | 84 | 84 | Rehabilitation of main pipe ND 600 mm (1300 m) | Completion of rehabilitation measures already defined within the Master Plan forMures County | 521040 | 635668.8 | 17.3013
3 | Sighisoara | Sighisoara | 30942 | 2015 | 94 | 94 | Rehabilitation of WTP Rehabilitation existing clarifier | Rehabilitation of the filter units Rehabilitation of existing clrifier | 1547365 | 1887785.3 | 61.0104
[7 empty] | Rehabilitation mai trunk ND 600 mm (6247 m) | Completion of rehabilitation measures already defined within the Master Plan for Mures County | 2276407 | 2777216.54
[7 empty] | Rehabilitation of low pressure pipe (9140 m) |  | 835396 | 1019183.12
[7 empty] | New clorinator & SCADA network | Rehabilitation and upgrating of network parameters | 340000 | 414800
4 | Tarnaveni | Tarnaveni | 24382 | 2015 | 84 | 84 | Rehabilitation of WTP | Completion of rehabilitation measures already defined within the Master Plan forMures County | 1983647 | 2420049.34 | 140.3018
[7 empty] | Rehabilitation distribution (4985 m) |  | 480319 | 585989.18
[7 empty] | New clorinator & SCADA network | Rehabilitation and upgrating of network parameters | 340000 | 414800
5 | Ludus | Ludus | 14605 | 2015 | 81 | 97 | Rehabilitation of WTP | Completion of rehabilitation measures already defined within the Master Plan forMures County | 927028 | 1130974.16 | 848.641
[7 empty] | New distribution (22525 m) | Extension on new urban area | 1412318 | 1723027.96
[7 empty] | New main trunk (3000 m) |  | 7500000 | 9150000
[7 empty] | New clorinator & SCADA network | Rehabilitation and upgrating of network parameters | 320000 | 390400
6 | Iernut | Iernut | 5913 | 2015 | 57 | 65 | Rehabilitation of WTP | Completely replace all of the chemical make-up and dosing plant and equipment. Renovate a minimum of four filters. Replace the washwater pump. Replace treated water forwarding pumps. Install new flowmeters for inlet and outlet pipelines. | 1012369 | 1235090.18 | 363.5903
[7 empty] | New distribution (4530 m) | Extension on new urban area | 349852 | 426819.44
[7 empty] | New clorinator & SCADA network | Rehabilitation and upgrating of network parameters | 400000 | 488000
7 | Band | Band | 3138 | 2015 | 50 | 50 | New main trunk (10000 m) | Completion of this measure already defined within the Master Plan forMures County | 2000000 | 2440000 | 777.5653
8 | Miercurea Nirajului | Miercurea Nirajului | 4056 | 2015 | 0 | 20 | New intake | Are provided following: new catchmant, sand removal unit and raw water PS. | 682361 | 832480.42 | 1369.7932
[7 empty] | New WTP | DWTP modular unit, PS and reservoir | 3500000 | 4270000
[7 empty] | New distribution (4000 m) | Developing new network | 371640 | 453400.8
9 | Cristuru Secuiesc | Cristuru Secuiesc | 8502 | 2010 |  | 92% | Rehabilitation of the surface intake and WTP | Completion of thise measures already defined within the Master Plan for Mures County | 2468888 | 3012043.36 | 354.2747

## wastewater
Judetul MURES
Anexa 8.2 - Canalizare Lista de investitii prioritare propuse pentru fondurile de coeziune
Nr. crt. | Aglomerarea (aglomerarea si cod cluster) | Populatia 2007 |  | An implementare | Rata de bransare(%) |  | Masura | Descriere | Cost (Euro)
|  | P | PE |  | inainte | Dupa |  |  | Net | Total | Total/persoana
1 | Targu Mures | 125099 | 237000 | 2010 | 90 | 94 | Rehabilitation of sludge line of WWTP - Tg. Mures | Completion of rehabilitation measures already defined within the Master Plan forMures County | 1250000 | 1525000 | 116.0791
[7 empty] | Rehabilitation of sewerage (37211 m) - Tg. Mures |  | 6344475 | 7740259.5 |  | -281000 | -8000
[7 empty] | New sewerage (11000 m) - Tg. Mures | Extension on new urban area | 1875500 | 2288110
[7 empty] | Main collector (7000 m) - Livezeni | New conection of sewerage Tg. Mures | 1640100 | 2000922
[7 empty] | New PS - Livezeni (1 item) | New sewerage utility | 733150 | 894443
[7 empty] | New sewerage (4300 m) - Livezeni | New sewerage utility | 59540 | 72638.8
2 | Reghin | 36741 | 38846 | 2010 | 64 | 98 | Instalation of tertiary treatment facilities for the WWTP Reghin for 38846 p.e. | WWTP has to be equipped with tertiary treatment facilities to fulfil the requirements for wastewater treatment in sensitive areas. | 3000000 | 3660000 | 307.6689
[7 empty] | New sewerage (37090 m) | Extension on new urban area | 6265625 | 7644062.5
3 | Sighisoara | 30942 | 34101 | 2010 | 81 | 99 | New Ps (12 items) | New sewerage utility | 446400 | 544608 | 299.767
[7 empty] | New sewerage (39710 m) | Extension on new urban area | 6906378 | 8425781.16
[7 empty] | SCADA | Rehabilitation and upgrating of sewerage network parameters | 250000 | 305000
4 | Tarnaveni | 24382 | 35751 | 2015 | 66 | 76 | Rehabilitation and upgrading to tertiary stage | WWTP has to be equipped with tertiary treatment facilities to fulfil the requirements for wastewater treatment in sensitive areas. | 2270457 | 2769957.54 | 258.0268
[7 empty] | Rehabilitation and new PS's (5 items) | New sewerage utility | 587500 | 716750
[7 empty] | New sewerage (11220 m) | Extension on new urban area | 2048772 | 2499501.84
[7 empty] | SCADA | Rehabilitation and upgrating of sewerage network parameters | 250000 | 305000
5 | Ludus | 14605 | 25811 | 2015 | 58 | 83 | New WWTP | Completion of rehabilitation measures already defined within the Master Plan forMures County | 5787756 | 7061062.32 | 808.3951
[7 empty] | New sewerage (19649 m) | Extension on new urban area | 3639793 | 4440547.46
[7 empty] | SCADA | Rehabilitation and upgrating of sewerage network parameters | 250000 | 305000
6 | Iernut | 5913 | 12297 | 2015 | 43 | 59 | Rehabilitation and upgrading WWTP | Rehabilitation of mechanical screens and grit separation, replacement of fixed speed wastewater pumps with variable speed pumps having automatic command, adding a biological treatment sequence and a sludge thickening and dewatering equipment | 3043578 | 3713165.16 | 872.965
[7 empty] | Extension of sewerage (6944 m) | Extension on new urban area | 937440 | 1143676.8
[7 empty] | SCADA | Rehabilitation and upgrating of sewerage network parameters | 250000 | 305000